## Cover Sheet
Review of implementation of healthcare waste management investments - Review tool
2025-10-01
The purpose of this tool is to assess and verify the implementation of Global Fund (GF) approved healthcare waste management investments, including identifying critical gaps and recommending actions to ensure effective healthcare waste management.
Review Information:
Assessment date:
Name of LFA expert reponsible for content of the assessment tool:
Country / Area Assessed:

## Glossary
Abbreviations
GF | Global Fund
EIA | Environmental Impact Assessment
ESIA | Environmental and Social Impact Assessment
HCF | Healthcare facility
HCW | Healthcare waste
HCWM | Healthcare waste management
PR | Principal Recipient
SOP | Standard Operating Procedure
WHO | World Health Organisation
Glossary
Sub-national level | A region or state within a nation.
Bill of Quantities | A document which provides specific measured quantities of the items identified in drawings and specifications for construction.
Feasibility study | An assessment of the practicality of a proposed plan or method.
Technical Brief | Global Fund Technical Brief on Safe and Sustainable Healthcare Waste Management
WHO Blue Book | World Health Organisation Safe Management of Wastes from Healthcare Activities
Legislative framework | A framework of legislation and policy guidelines depicting the requirements steps for implementation.

## User Instructions
User Instructions
1 | For waste management investments, respond to the questions under the "Questionnaire (Waste Management)" tab.
For waste infrastructure investments, please respond to the questions under the "Questionnaire (Infrastructure)" tab.
2 | Each question has a drop down menu in the "Response" column. Select the most suitable answer for each question.
3 | Add notes explaining any responses or additional useful information in the "Comments" column of each question, as required.
4 | All questions must be answered utilizing the drop down menu. No question can be left blank.
5 | Once all questions are answered, please view the results summary under the tab "Review score".
6 | The tool is divided into the following sections:
Waste Management Investments
Section 1 - Readiness
Section 1.1 - Budget and Planning
Section 1.2 - Institutional and Organizational Capacity
Section 1.3 - National Planning and Baseline Data
Section 1.4 - Regulatory Framework
Section 1.5 - Guidance
Section 1.6 - Training and Competence
Section 2 - Monitoring
Section 3 - Effectiveness
Section 3.1 - Waste Storage, Collection and Transport
Section 3.2 - Waste Treatment and Disposal
Waste Infrastructure Investments
Section 1 - Studies and Site Assessments
Section 2 - Procurement
Section 3 - Construction, Installation and Commissioning
Section 4 - Operation

## Questionnaire (Waste Mgt)
Waste Management Investments
|  | Response rate | 0%
| Ref | Question | Response | Comments - For any responses of 'no', 'partially' and 'n/a' a comment/explanation is mandatory |  | 0%
| Section 1 - Readiness |  |  |  |  | 0%
Section 1.1 - Budget and Planning
1 | 1 | Is the investment in line with the national HCWM plan or strategy? |  |  | 0
1 | 2 | Is the HCW investment in line with the GF Technical Brief? |  |  | 0
1 | 3 | Is the HCW investment budget confirmed? |  |  | 0
1 | 4 | Has the HCW investment budget and associated expected outcomes (i.e. equipment procurement, site readiness, etc.) been communicated to all relevant actors where relevant (e.g. sub-PRs, relevant government departments, service delivery partners, other donors)? |  |  | 0
1 | 5 | Has a detailed costed budget plan been developed to indicate how the HCW investment will be spent? If yes, how appropriate and complete is it? If not, please state briefly the shortalls and how they could be addressed. |  |  | 0
1 | 6 | Is the allocated budget sufficient for the planned HCW investments? If not, please state briefly the shortalls and how they could be addressed. |  |  | 0
1 | 7 | Has budget been allocated for ongoing implementation support (i.e. installation, site visits, training, etc.) beyond the expiration of GF allocated funding? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 1.2 - Institutional and Organisational Capacity
1 | 1 | Is the PR solely responsible for the HCW investment implementation? If yes, do you consider this adequate? Are there any specific risks? |  |  | 0
1 | 2 | Is the PR actively engaged with governmental actors and stakeholders in implementing the HCW investment? |  |  | 0
1 | 3 | Other than the PR, are there any other departments or entities or sub-recipients assigned to manage and implement the HCW investment? If yes, please list their names and provide any relevant comments, including risks in relation to their involvement, as relevant. |  |  | 0
1 | 4 | If yes, is the department or entity assigned to manage and implement the HCW investment appropriate (i.e. Ministry of Health/Environment or equivalent)? |  |  | 0
1 | 5 | Is there political support from governmental decision makers for the HCW investment? |  |  | 0
1 | 6 | Does the PR (and/or the entity assigned to manage the investment) have sufficient resources and capacityies to adequately implement the HCW investment? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 1.3 - National Planning and Baseline Data
1 | 1 | Is there a national HCWM plan or strategy? |  |  | 0
1 | 2 | Is the national HCWM plan or strategy up to date? |  |  | 0
1 | 3 | Has an entity been assigned within the public sector to implement the HCWM plan or strategy? |  |  | 0
1 | 4 | Is there a robust HCW baseline dataset to support the HCWM plan or strategy? |  |  | 0
1 | 5 | Is there an adequate system in place to monitor the implementation of the HCWM plan? |  |  | 0
1 | 6 | Has a steering group or committee been set up at national level to assess progress and evaluate systematic improvement of waste management infrastructure? If yes, are the relevant stakeholders part of the steering group/committee and does it meet regularly? |  |  | 0
1 | 7 | Is there a inventory of in-country treatment and disposal assets? Please add in the comment field if the inventory is regularly being kept up to date and whether it is complete (as much as this is feasible to determine). |  |  | 0
1 | 8 | Have any technical or situational assessments on HCWM been conducted at national level in the last five years? |  |  | 0
1 | 9 | Have any technical or situational assessments on HCWM been conducted at sub-national level in the last five years? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 1.4 - Regulatory Framework
1 | 1 | Is there specific national level legislation and regulation for HCWM? |  |  | 0
1 | 2 | Are the HCWM legislation and regulation adequate (i.e. do they include all relevant aspects related to waste management infrastructure, is it updated)? |  |  | 0
1 | 3 | Is the regulatory framework readily enforced? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 1.5 - Guidance
1 | 1 | Is the PR aware of and consistently adheres to the GF Technical Brief on Safe and Sustainable HCWM? |  |  | 0
1 | 2 | Are the key principles set out in the GF Technical Brief on Safe and Sustainable HCWM adhered to consistently? If not, please provide information on the reasons for non-adherance. |  |  | 0
1 | 3 | Is the PR aware of other international HCW guidance, such as the WHO Blue Book? |  |  | 0
1 | 4 | Are there national technical guidelines and/or SOPs for HCWM? |  |  | 0
1 | 5 | Are the national guidelines and/or SOPs adequate? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 1.6 - Training and Competence
1 | 1 | Is there a national training programme for HCWM? |  |  | 0
1 | 2 | Are all relevant staff trained on storage, handing and segregation of waste at HCFs? |  |  | 0
1 | 3 | Are all staff operating HCW treatment and disposal sites appropriately trained? |  |  | 0
1 | 4 | Do HCFs have sufficient numbers of managers responsible for healthcare waste management? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
| Section 2 - Monitoring |  |  |  |  | 0%
2 | 1 | Has the HCW investment been fully implemented? If no, comment on the progress of implementation of the investment/related activities compared to the plan. If there are delays/bottlenecks, what are they, what are the root causes and how can they be addressed? |  |  | 0
2 | 2 | Is the HCW investment budget regularly monitored and updated? |  |  | 0
2 | 3 | Does the PR have sufficient resources and capacity available to adequately monitor the status of the HCW investment? |  |  | 0
2 | 4 | Is there a method and system in place at national level to record waste data (such as generation and volume treated/disposed)? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
| Section 3 - Effectiveness |  |  |  |  | 0%
Section 3.1 - Waste Storage, Collection and Transport
3 | 1 | Do HCFs separate their waste, where applicable, into at least three clearly labelled and colour coded containers (e.g. general, sharps, and infectious)? |  |  | 0
3 | 2 | Are HCW storage locations organized by waste types, self-contained, and washable? |  |  | 0
3 | 3 | Are HCFs waste collections carried out by a formal entity or contractor? |  |  | 0
3 | 4 | Is HCW transported to storage, treatment and disposal facilities in a safe and compliant manner? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
Section 3.2 - Waste Treatment and Disposal
3 | 1 | Is HCW sent to a dedicated treatment and disposal facility rather than adoption of open burning? |  |  | 0
3 | 2 | Is HCW treated and disposed of using safe and compliant methods (i.e. as set out in WHO and/or Global Fund guidelines)? |  |  | 0
3 | 3 | Is there sufficient high temperature incineration and alternative treatment capacity to process expected waste volumes? |  |  | 0
3 | 4 | Are incinerators and alternative treatment technologies operated by trained staff? |  |  | 0
3 | 5 | Are incinerators and alternative treatment technologies regularly maintained? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):

## Questionnaire (infrastructure)
Waste Infrastructure Investments
|  | Response rate | 0%
| Ref | Question | Response | Comments - For any responses of no, partially or n/a, a comment/explanation is mandatory
| HCW Infrastructure Investments |  |  |  |  | 0%
| Section 1 - Studies and Site Assessments |  |  |  |  | 0%
1 | 1 | Has a waste composition or characterization study been conducted to establish the type and quantity of waste to be treated? Is it adequate and up to date? |  |  | 0
1 | 2 | Has land been allocated? |  |  | 0
1 | 3 | Is the size and footprint of the allocated land sufficient? |  |  | 0
1 | 4 | Has an adequate feasibility study or options appraisal been conducted to inform the technology type? |  |  | 0
1 | 5 | Has an EIA or ESIA been conducted? |  |  | 0
1 | 6 | Has a detailed site assessment been conducted to determine the suitability of the site? |  |  | 0
1 | 7 | Have all applicable permits and licenses been obtained? |  |  | 0
1 | 8 | Have all preliminary technical studies been conducted for the ancillary infrastructure and connections (e.g. wastewater, access, utility connections)? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
| Section 2 - Procurement |  |  |  |  | 0%
2 | 1 | Has a technical specification been developed? |  |  | 0
2 | 2 | Has there been sign off on the technical specifications and design from the relevant entities or authorities? |  |  | 0
2 | 3 | Has procurement been initiated? |  |  | 0
2 | 4 | Has installation and commissioning been included within the specification for the technology supplier? |  |  | 0
2 | 5 | Has operational training and support been included within the specification for the technology supplier? |  |  | 0
2 | 6 | Has a supplier(s) been selected? |  |  | 0
2 | 7 | Has the order been placed? |  |  | 0
2 | 8 | Has the ordered equipment been shipped? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
| Section 3 - Construction, Installation and Commissioning |  |  |  |  | 0%
3 | 1 | Has a construction programme been developed? If yes, how appropriate/adequate is it? If no, please state briefly the reasons/potential bottlenecks and how they could be addressed. |  |  | 0 | 8
3 | 2 | Has a bill of quantities been developed? If yes, how appropriate and complete is it? |  |  | 0
3 | 3 | Has an entity or individual been appointed to oversee construction and management of sub-contractors? Please describe details of appointment (i.e. expected start date, duration, potential bottlenecks). |  |  | 0
3 | 4 | Has a commissioning plan been developed? If yes, how appropriate is it? |  |  | 0
3 | 5 | Has the technology been installed? If yes, how appropriate is it? |  |  | 0
3 | 6 | Has the technology been commissioned/tested? |  |  | 0
3 | 7 | Have arrangements been made for the supply of waste? If yes, how appropriate is it? |  |  | 0
3 | 8 | Have arrangements been agreed for the offtake of residues and byproducts? If yes, how appropriate is it? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):
| Section 4 - Operation |  |  |  |  | 0%
4 | 1 | Has budget been allocated for ongoing operations, training, lifecycle works and replacement of parts? |  |  | 0
4 | 2 | Has an operator been appointed? |  |  | 0
4 | 3 | Has an operation and maintenance plan been developed? |  |  | 0
4 | 4 | Has a training plan been developed? |  |  | 0
4 | 5 | Has the training plan been followed and implemented? |  |  | 0
4 | 6 | Is the technology operational? |  |  | 0
4 | 7 | Is the infrastructure fully and adequately operational? |  |  | 0
Comments (Please provide any additional information to substantiate your responses above and/or highlight any particular issues/risks, as appropriate):

## Review score
Implementation of Waste Management Investments |  |  | Implementation of Waste Infrastructure Investments
Review score |  |  | Review score
Criteria | Score | Rating | Criteria | Score | Rating
Readiness | 0 | 0% | Studies and Site Assessments | 0 | 0%
Monitoring | 0 | 0% | Procurement | 0 | 0%
Effectiveness | 0 | 0% | Construction, Installation and Commissioning | 0 | 0%
|  |  | Operation | 0 | 0%
TOTAL | 0 | 0% | TOTAL | 0 | 0%
Rating Scale |  |  | Rating Scale
Fully inadequate | 20% |  | Fully inadequate | 20%
Critical inadequacies | 40% |  | Critical inadequacies | 40%
Somewhat inadequate | 60% |  | Somewhat inadequate | 60%
Mostly adequate | 80% |  | Mostly adequate | 80%
Fully adequate | 90% |  | Fully adequate | 90%

## Data (hidden)
Yes
No
Partially
N/A