## Budget Template
Budget Template for Operating an Oxygen Plant
Date: 22 September 2025
This document was developed by Build Health International for the Global Fund’s Project BOXER.
This budget template is designed to capture both initial one-time purchases and recurring annual expenses for a medical oxygen plant. All equipment, supplies, and services are assumed to be required on Day 0, meaning that for the first year the budget will consist of the initial purchases as well as all recurring annual expenses. For all following years only the recurring annual expenses will need to be considered. This template is made to be a guide and should be customized for the specific needs of each facility. Budget lines can be added or removed as required and all yellow highlighted cells should be updated based on the various costs in each country and for each facility.
Item | Item Description | Unit | QTY | Unit Cost | Subtotal | Comments
Initial Procurement
1 | Oxygen plant equipment commodity cost | - | 1 | 1 | 1
2 | Shipping, insurance, and customs clearance | - | 1 | 1 | 1
3 | Installation (cranes & forklifts) | - | 1 | 1 | 1
4 | Site infrastructure work: Plant Housing | - | 1 | 1 | 1
5 | Site infrastructure work: Electrical Infrastructure | - | 1 | 1 | 1 | This should include items such as: a back up generator, cabling, automatic voltage regular (AVR), automatic voltage stablizer (AVS), lightening and switches, transformer upgrades, etc.
6 | Site infrastructure work: Medical Gas Piping System (MGPS) | - | 1 | 1 | 1
7 | MGPS accessories (flowmeters, etc.) | - | 1 | 1 | 1
8 | Fire safety devices (smoke detectors, fire extinguishers, buckets of sand, etc) | pcs | 1 | 1 | 1
9 | Oxygen cylinders | pcs | 1 | 1 | 1 | Cylinder procurement guidance
10 | Cylinder transportation -- hand carts | pcs | 1 | 1 | 1 | Recommended to buy one hand cart per operator plus 1 additional at minimum
11 | Cylinder transportation -- distribution truck | pcs | 1 | 1 | 1 | Cylinder management guidance
12 | Warranty Terms | YEARS | 1 | 1 | 1 | Warranty Terms Guidelines
13 | Tools for oxygen plant | - | 1 | 1 | 1 | BHI recommended PSA toolkits
14 | Tools for booster compressor (oxygen safe) | - | 1 | 1 | 1 | BHI recommended booster toolkits
Total: |  |  |  |  | 12
Yearly Maintenance and Upkeep
15 | Oxygen plant spare parts for preventative maintenance | YEARS | 1 | 1 | 1 | Consider and note assumptions for any calculations determining spare parts budgeting.
16 | Booster Compressor spare parts for preventative maintenance | YEARS | 1 | 1 | 1
17 | MGPS accessories: replacement parts | - | 1 | 1 | 1
18 | Warranty Exclusions | YEARS | 1 | 1 | 1 | Potential warranty exclusions include: labor costs, diagnostics costs, travel/accommodations/technician incidental expenses, replacement parts, part shipping, customs costs etc. These may not apply to all oxygen plants and the warranty terms should be utilized to determine what additional items should be budgeted for.
19 | Preventative Maintenance / Service Contract | YEARS | 1 | 1 | 1 | Service Contract Guidelines
20 | Preventative Maintenance Exclusions | YEARS | 1 | 1 | 1 | Potential preventative maintenance exclusions include: Travel/accommodations/technician incidental expenses. This may not apply to all preventative maintenance agreements.
21 | Potential Repairs | - | 1 | 1 | -3.9 | Budget 7-10% of the initial cost of the oxygen plant for spare parts, preventative maintenance, and repairs annually
22 | Replacement tools for oxygen plant | - | 1 | 1 | 1
23 | Replacement tools for booster compressor (oxygen safe) | - | 1 | 1 | 1
24 | Cleaning supplies (mops, paper towels, spray detergent, etc) | - | 1 | 1 | 1 | See recommended tool kits for oxygen plants and booster compressors
25 | PPE (goggles, ear plugs, electrical gloves, work clothes) | - | 1 | 1 | 1
26 | Fire preventation system maintenance (e.g, fire extinguisher maintenance, etc) | - | 1 | 1 | 1 | Fire extinguishers typically need to be serviced every 6 months, when used, or when the device indicates service is needed.
27 | Cylinder Accessories (e.g, cylinder caps, pigtails, adapters, etc) | - | 1 | 1 | 1
28 | Maintenance for oyxgen distribution pipeline and accessories | - | 1 | 1 | 1
29 | Facility and plant house maintenance (e.g., AC maintenance, etc) | - | 1 | 1 | 1
30 | Cylinder transportation operating costs (fuel, parts, inspection, etc.) | - | 1 | 1 | 1
31 | Maintenance for security and safety measures (fences, alarms, cameras, etc) | - | 1 | 1 | 1
Yearly Electricity
33 | Utility Charges | kWh | 1 | 0.1 | 0.1
34 | Generator Fuel (diesel or other) | L | 1 | 0.2 | 0.2
35 | Generator Maintenance (oil, filters, coolant) | - | 1 | 1 | 1 | Energy product guidance
36 | Electricity metering and monitoring | - | 1 | 1 | 1
Yearly Human Resources*
37 | Operator | HOURS | 1 | 1 | 1 | Plant staffing guidance
38 | Supervising Engineer* | HOURS | 1 | 1 | 1 | Hours should be calculated by X hrs/day, multiplied by X days/week. The total should be multiplied by the number of weeks they will work per year supporting the oxygen plant.
39 | Management and Administration* | HOURS | 1 | 1 | 1
40 | Training and Professional Development | HOURS | 1 | 1 | 1
Total Expenses: |  |  |  |  | 18.4
* Customize this template to include a line in the budget for each staff member supporting the oxygen plant. If a staff member only dedicates a percentage of their time to the oxygen plant maintenance, make sure to only include the relevant hours here (ensuring the rest of their salary is captured in other budgets)
Note on K5: ====== ID#AAABrXOpzM0 Emilie Macher (2025-09-22 07:06:18) I think all my comments have been addressed, thanks and please, proceed.